[Company name]

Quality Assurance Plan for

[Disposable Screening Breath Tester or

Non-Disposable Factory Calibrated Screening Breath Tester EBT name]

[date]

Under the U. S. Department of Transportation workplace testing program (see 49 CFR, Part 40), transportation employers are required to test employees working in certain safety sensitive positions for alcohol under certain conditions. The DOT workplace testing program requires that breath test device manufacturers provide employers with this Quality Assurance Plan, which, together with the operating instructions that are provided with the [SBT name], will assist in assuring that breath testers are calibrated to the required degree of accuracy.

Storage conditions					Shelf life:

Temperature:

Humidity:

Other:

Quality Control Checks at 0.032 BAC (instructions for use of approved calibrators are appended to this QAP): [Manufacturer should review instructions for approved calibrators and append to this QAP]

Agreement of calibration check with calibrator concentration: no negative result (0.020 or lower)

[Disposable SBT]

Number of devices from lot to be tested:

Sampling procedure for selecting devices:

[Non-disposable Factory Calibrated SBT]

Interval between checks: [ x days, or  y tests]

[Event(s) which require that [device name] not be used:]

[Other information regarding quality assurance unique to this instrument, if any:]